## Hmi Tags
Name | Path | Connection | PLC tag | DataType | HMI DataType | Length | Coding | Access Method | Address | Start value | Quality Code | Persistency | Substitute value | Tag value [en-US] | Update Mode | Comment [en-US] | Range Maximum Type | Range Maximum | Range Minimum Type | Range Minimum | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI
HMI_Tag_1 | Default tag table | <No Value> | <No Value> | Int | Int | 2 | Binary | <No Value> | <No Value> | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rBaseTemp | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rBaseTemp | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rKRU_1 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rKRU_1 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rTempMax | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rTempMax | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rPeregibTemp | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rPeregibTemp | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rKRU_2 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rKRU_2 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rTempMin | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rTempMin | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rTempSnizh1 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rTempSnizh1 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rTempSnizh2 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rTempSnizh2 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rTempVozduh | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rTempVozduh | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rKp_ | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rKp_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlan_rKmax | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempPlan.rKmax | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpTempMoveCoef__Hysteresys_ | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PumpTempMoveCoef._Hysteresys_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpTempMoveCoef_T_level | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PumpTempMoveCoef.T_level | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpTempMoveCoef__Time | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.PumpTempMoveCoef._Time | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpTempMoveCoef_Ust_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.PumpTempMoveCoef.Ust_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpFunctionCoef_T_prokr | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PumpFunctionCoef.T_prokr | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t4 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t4 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t3 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t3 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpFunctionCoef_T_vykl | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PumpFunctionCoef.T_vykl | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t2 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t2 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpFunctionCoef_T_vkl | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PumpFunctionCoef.T_vkl | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpFunctionCoef_Trez | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PumpFunctionCoef.Trez | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t1 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t1 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t5 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t5 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t6 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t6 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t7 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t7 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoef_KoefCorr_t8 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.TempCorrectionCoef.KoefCorr_t8 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PodpitkiCoef_Tres | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PodpitkiCoef.Tres | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PodpitkiCoef_Tvkl | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PodpitkiCoef.Tvkl | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PodpitkiCoef_Tvykl | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PodpitkiCoef.Tvykl | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PodpitkiCoef_PodpitkiNotUsed | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PodpitkiCoef.PodpitkiNotUsed | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HeatingLimitsCoef_TempLevel | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.HeatingLimitsCoef.TempLevel | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HeatingLimitsCoef_Hysteresys_ | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.HeatingLimitsCoef.Hysteresys_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HeatingLimitsCoef_Ustanovki | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.HeatingLimitsCoef.Ustanovki | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HeatingLimitsCoef_Time_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.HeatingLimitsCoef.Time_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoef_tavar | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.ProtectoinCoef.tavar | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoef_tcomp | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.ProtectoinCoef.tcomp | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoef_Nt_Mop | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.ProtectoinCoef.Nt_Mop | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoef_Tna_Mop | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.ProtectoinCoef.Tna_Mop | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoef_Tkl_Mop | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.ProtectoinCoef.Tkl_Mop | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_tcn_n0 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.tcn_n0 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_tcn_nM | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.tcn_nM | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_T_cn_n0 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.T_cn_n0 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_T_pr_n0 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.T_pr_n0 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_T_pr_Kp | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.T_pr_Kp | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_tpr_nM | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.tpr_nM | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_tgh_n0 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.tgh_n0 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeating_tpr_Max | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.DecreaseHeating.tpr_Max | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Ki | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Ki | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Kd | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Kd | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Kp | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Kp | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Kdussil | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Kdussil | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Umax | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Umax | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Umin | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Umin | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_PID_notUsed | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.PID_notUsed | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_KpreDiff | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.KpreDiff | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_SensorNo | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.SensorNo | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_Strud_Hysteresys | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.PID_Strud.Hysteresys | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_KO_t0 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.KO_t0 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_KO_K | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.KO_K | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_KO_tm | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.KO_tm | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_KO_T | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.KO_T | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_KO_Oob | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.KO_Oob | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_MO_typ | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.MO_typ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffs_MO_T | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.BackwordCoeffs.MO_T | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
CompensCoef_TroomH2 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.CompensCoef.TroomH2 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
CompensCoef_TroomH1 | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.CompensCoef.TroomH1 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
NetLimits_OC_Nt | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.NetLimits.OC_Nt | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
NetLimits_OC_dt | Strumen | wago | <No Value> | VT_R4 | Real | 4 | IEEE754 | Absolute access | PLC1:.NetLimits.OC_dt | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlanRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.TempPlanRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpTempMoveCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PumpTempMoveCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpFunctionCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PumpFunctionCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.TempCorrectionCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PodpitkiCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PodpitkiCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HeatingLimitsCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.HeatingLimitsCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.ProtectoinCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeatingRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.DecreaseHeatingRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
CompensCoefRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.CompensCoefRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
NetLimitsRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.NetLimitsRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_StrudRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PID_StrudRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffsRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.BackwordCoeffsRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventLogRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.EventLogRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EntryLogRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.EntryLogRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLogRead | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.AlmLogRead | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempPlanWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.TempPlanWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpTempMoveCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PumpTempMoveCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PumpFunctionCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PumpFunctionCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
TempCorrectionCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.TempCorrectionCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PodpitkiCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PodpitkiCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
HeatingLimitsCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.HeatingLimitsCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
ProtectoinCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.ProtectoinCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
DecreaseHeatingWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.DecreaseHeatingWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
CompensCoefWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.CompensCoefWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
NetLimitsWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.NetLimitsWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PID_StrudWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.PID_StrudWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
BackwordCoeffsWrite | Strumen | wago | <No Value> | VT_BOOL | Bool | 1 | Binary | Absolute access | PLC1:.BackwordCoeffsWrite | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Sec_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.AlmLog.Sec_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Min_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.AlmLog.Min_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Hour_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.AlmLog.Hour_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Day_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.AlmLog.Day_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Month_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.AlmLog.Month_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Year_ | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.AlmLog.Year_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Alarms_ | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.AlmLog.Alarms_ | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Warning1 | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.AlmLog.Warning1 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Warning2 | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.AlmLog.Warning2 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_Warning3 | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.AlmLog.Warning3 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
AlmLog_WarningPodpitka | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.AlmLog.WarningPodpitka | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventsLog_Minute | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.EventsLog.Minute | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventsLog_Hour | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.EventsLog.Hour | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventsLog_Day | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.EventsLog.Day | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventsLog_Mounth | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.EventsLog.Mounth | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventsLog_Events | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.EventsLog.Events | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventsLog_LastEntryTime | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.EventsLog.LastEntryTime | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
wPump_K1 | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.wPump_K1 | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
nEventLine | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.nEventLine | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
nEntryLine | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.nEntryLine | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
nAlmLine | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.nAlmLine | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EventLineQuont | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.EventLineQuont | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
EntryLineQuont | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.EntryLineQuont | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
nAlmLineQuont | Strumen | wago | <No Value> | VT_UI1 | USInt | 1 | Binary | Absolute access | PLC1:.nAlmLineQuont | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
PT_function | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.PT_function | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Podpodki_function | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.Podpodki_function | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pump_function | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.Pump_function | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Function_word | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.Function_word | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
wMakeUpPump | Strumen | wago | <No Value> | VT_UI2 | UInt | 2 | Binary | Absolute access | PLC1:.wMakeUpPump | <No Value> | False | False | <No Value> | <No Value> | Client/Server wide | <No Value> | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0

## Substitute Value Usage
HMI Tag name | Substitute Value Usage